## Slide 1: Plant Description Engine (PDE)
Overview and demo
AH biweekly, 2021-05-25

## Slide 2: Plant Description, first objective
To support making plans for multi-vendor integration
  Ready-made AH systems are delivered by vendors independently (unknowingly of each other)
  Integrator uses such systems as Lego-blocks and constructs the ”glue” for interconnectivity and operation
  Late binding through orchestration will connect adequate systems at runtime, according to the plan of the plant description
To monitor that a plant runs according to plan, e.g.,
  There are producers offering intended services
  Only expected services exist
PDE - High level motivation

## Slide 3: Plant Description, first objective
An abstract description on which systems the plant shall contain and how they shall be connected as consumers and producers
The description need not contain any instance specific information, instead meta-data about each system is used to match service producers to consumers
The active plan is used to populate the Orchestrator with store rules so that consumers requesting producers with matching meta-data will connect according to plan.
What is a plant description, a k a plan?

## Slide 4: Plant Description, first objective
A plan can be extended with delta plans
  No need to change the base plans
Also, the PDE can be configured with several variants of plans
  Where one is active (plan A).
  And others are alternative plant (plan B, plan C, etc).
The active plant description is instantly populated to the orchestrator
  Plans may be changed during operation
  Having plans is optional, if no plant description is active the orchestrator does not contain any store rules populated by the PDE.
Sub-plans and alternative plans

## Slide 5: Plant Description, first objective
The PDE checks presence of systems specified in the active plan
  If a system is not present it raises an alarm.
If it detects that an unknown system has registered a service in the service registry it also raises an alarm.
For a consumer system to be monitored by the PDE the system should produce the Monitorable service and register it in the service registry.
Monitoring

## Slide 6: Now demo follows!

## Slide 7: Plant Description Engine in Arrowhead
PDE mgmt
PDE monitor
Dashboard
Mgmt interfaces
Database
Optional heartbeat (if registry/orchestrator is insufficient)
PDE Interacts with Arrowhead core components
  For monitoring
  For orchestration
XML / JSON representation of Plant

## Slide 8: Links
PDE overview
  https://github.com/eclipse-arrowhead/core-java-spring/tree/pde#plant-description-engine
SOSD
  https://github.com/eclipse-arrowhead/core-java-spring/blob/pde/documentation/plant-description-engine/plant-description-engine-sosd.md